## Slide 1: Practice Problems or How to put the pieces of the puzzle correctly together?

## Slide 2: Proposed Algorithm
1. Carbonyl (C=O, 1630-1800 cm-1 (strong), see table for further details)
2. Hydroxyl (OH, 3200-3600 cm-1 (broad, strong))
3. Amino (NHx, 3200-3400 cm-1 (medium-strong), less intense and less broad than OH, one peak for secondary amine, two peaks for primary amine)
4. C-H functions (sp3, <3000 cm-1, sp2 3000-3100 cm-1, sp ~3300 cm-1 for stretching), (1465-1370 cm-1 for CH2 and CH3 bending)
5. Triple bonds (C≡C ~2100-2250 cm-1, C­≡N ~2200-2250 cm-1 (medium-weak))
6. Double bonds (C=C, alkene ~1650 cm-1 (medium), aromatic 1450-1600 cm-1)
7. Nitro group (two peaks: ~1300-1400 cm-1, ~1500-1600 cm-1(strong))
8. Sulfone group (two peaks: ~1140-1200 cm-1, ~1300-1400 cm-1(strong))
9. Carbon-Oxygen bond (two peaks between 1000-1300 cm-1 (strong))
10. Carbon-Halogen bond (F: 1000-1200 cm-1, Cl: 700-900 cm-1, Br: 500-700 cm-1 (medium-strong))
11. Out of plane bending for alkenes and aromatic systems (700-1000 cm-1 (medium-strong))

## Slide 3: Spectrum 1
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C=O)
n(COC)
n(C-H, sp3)

## Slide 4: Spectrum 2
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp2)
n(C-H, sp3)
n(NH)
n(C=C)
Oop, mono

## Slide 5: Spectrum 3
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp3)
n(C-H, sp2)
n(C=C)
n(OH)
n(C-OH)
Oop, mono

## Slide 6: Spectrum 4
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(NH2)
d(NH2)
n(C=C)
Oop, para

## Slide 7: Spectrum 5
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp3)
n(C=O)
n(C=C)
n(C-H, sp2)

## Slide 8: Spectrum 6
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-D)
n(C-Cl)

## Slide 9: Spectrum 7
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp3)
n(C-H, sp2)
n(C=O)
n(C=C)
nas(CCC)
Oop, mono

## Slide 10: Spectrum 8
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp3)
n(C-H, sp2)
n(C=C)
n(NO2)

## Slide 11: Spectrum 9
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp3)
n(C≡N)
n(C-Br)

## Slide 12: Spectrum 10
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-Cl)

## Slide 13: Spectrum 11
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp3)
n(C=O)
n(CHO)

## Slide 14: Spectrum 12
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp3)
n(NH2)
d(NH2)

## Slide 15: Spectrum 13
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp3)
n(C≡C)
n(C-H, sp)
d(CH, sp)

## Slide 16: Spectrum 14
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp3)
n(OH)
n(C-OH)

## Slide 17: Spectrum 15
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp3)
d(CH2)

## Slide 18: Spectrum 16
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp3)
n(C-H, sp2)
n(C=O)
n(C=C)
n(COC)
Oop, ortho

## Slide 19: Spectrum 17
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp3)
n(C-H, sp2)
n(C=C)
n(OH)
n(C-OH)
oop, mono

## Slide 20: Spectrum 18
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp3)
n(C=O)
nas(CCC)

## Slide 21: Spectrum 19
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp3)
n(C-H, sp2)
n(C=O)
n(C=C)
nas(CCC)
oop, mono

## Slide 22: Spectrum 20
Carbonyl group
Hydroxyl group
Amino group
C-H functions
Triple bonds
Double bonds
Nitro group
Carbon-Oxygen bond
Carbon-Halogen bond
n(C-H, sp3)
n(C=O)
n(C=C)
n(OH)
oop, mono

## Slide 23: Final Words
In order to identify a compound, it is usually not necessary to assign every peak in the spectrum
The focus should be on peaks that help to identify key functional groups in the molecule (zone analysis)
Developing an algorithm to solve spectroscopic problems helps a lot mastering this skill
When performing a reaction in the lab, it is good practice to research the spectra for the product, all reactants, the solvents and other compounds used in the experiment
Acquiring a quality spectrum in the lab makes the identification of the compound much easier